## Hibernia Scope
Ref # 024799
HIBERNIA SCOPE - Sheaves, V-Belts and Bushings
SAP NO. | Item Description | UOM | Manufacturer PN | NOTE**** CORRECT PART# | Can you offer Current MFG - Yes/No | If No - Alternate MFG Offered | Alternate MFG PN
40056670 | SHEAVE, FAN, 132MM PITCH | EA | 3B54Q-Q1 45MM | TBA
40056671 | SHEAVE, MOTOR, 190MM PITCH | EA | 3B74SK-SK 2 1/8 | TBA
40056091 | BELT, FAN, FOR K-6906 A/B/C/D (50-4S) HI | EA | B112 | TBA
40056093 | SHEAVE, FAN, 4TB86 C/W Q1 40MM BUSHING, | EA | 4TB86 C/W Q140MM MATERIAL 15000034 | TBA
40050456 | FAN, SHEAVE, C/W BUSHING P/N TB1610 | EA | SPA112/2-1610X40MM | TBA
40057432 | BELT, TRI POWER MOLDED NOTCH V BELT | EA | BX97 | TBA
40056089 | SHEAVE, MOTOR, 4TB110 C/W Q1 2 3/8 BUSHI | EA | 4TB110 -Q1X2 3/8 | TBA
40050326 | COUPLING; HOSE, FEMALE, 1/2", BRASS, | EA | LF-050A-B | TBA
40051695 | BEARING | EA | 6006-2Z/C3 SKF | TBA
40058064 | SHEAVE | EA | TB SPZ 140/4 C/W 2012 X 7/8 INSERT | TBA
40058199 | BELT, 380J5 | EA | 380J5 | TBA
40058383 | BEARING, PILLOW BLOCK BEARING | EA | PB22424H | TBA
40058761 | BELT, VBELT, A66 | EA | 1408997 | TBA
40038392 | BELT, FAN | EA | 3VX-375 | TBA
40006335 | BELT, DRIVE, FAN, V-BELT, SINGLE | PC | B73 | TBA
40005329 | SHEAVE, FAN, 476.25MM (18.75") PITCH DIA | PC | 4B184R/R1X215/16 | TBA
40046090 | SHEAVE, MOTOR, 168.91MM (6.65") O.D. | EA | 2TB68/P1 15/8 | TBA
40006336 | BELT, DRIVE, FAN | PC | XPC3000 | TBA
40006329 | BELT, DRIVE, FAN, V-BELT, SINGLE | PC | XPB2410 | TBA
40036345 | BELT, POWER BAND | EA | 23V710 | TBA
40040117 | BELT, POWERBAND, 5V-1400, 6 RIB | EA | 6-5V1400 | TBA
40025449 | BELT, SINGLE ANTISTATIC, A-2800 | PC | XPA-2800 | TBA
40006534 | BELT | PC | A54 | TBA
40000662 | BELT, A44, SINGLE | PC | A44 | TBA
40006565 | BELT | PC | BX120 | TBA
40006330 | BELT, HIGH POWERED, FOR K-6946A/B | PC | B95 | TBA
40006532 | BELT, DRIVE, 1/2", 42"ID, A/PS21449 | PC | A42 | TBA
40044141 | SHEAVE, MOTOR, 212MM (8.35") PITCH DIA. | EA | 2TB80/QIX2-1/8 | TBA
40005485 | BELT | PC | 5VX1000 | TBA
40006439 | BELT | PC | AX54 | TBA
40044139 | SHEAVE, MOTOR, 315MM (12.4") PITCH DIA. | EA | 3C120R/RIX2-7/8 | TBA
40037022 | BELT, DRIVE FAN - SEE SAP# 40006336 | EA | XPC3350V | TBA
40041172 | SHEAVE, FOR FAN, C/W BUSHING | EA | 2TB124/Q1X23/16 | TBA
40041174 | SHEAVE, FOR PULLEY, C/W BUSHING | EA | 45V1130E/EX27/16 | TBA
40041176 | SHEAVE, FOR MOTOR, C/W BUSHING | EA | 2TB52/P1X15/8 | TBA
40044140 | SHEAVE, FAN, 315MM (12.4") PITCH DIA. | EA | 3C120R/RIX50MM | TBA
40006449 | BELT | PC | B158 | TBA
40005699 | SHEAVE, MOTOR, 245MM (9.65") PITCH DIA. | PC | 6R5V97-R1X 3 3/8" | TBA
40046091 | SHEAVE, FAN, 102.87MM (4.05") O.D. | EA | 2TB42/P1 13/8 | TBA
40044508 | SHEAVE, MOTOR, 280MM (11.2") PITCH DIA. | EA | TL-SPB280/2.2517-2 1/2 | TBA
40044507 | SHEAVE, FAN, 212MM (8.5") PITCH DIA. | EA | TLSPB212/2.2517-40MM | TBA
40005332 | SHEAVE, MOTOR, 177.80MM (7.0") PITCH DIA | PC | 45V710SFX2 3/8 | TBA
40006332 | BELT, DRIVE, FAN, V-BELT, SINGLE | PC | XPB-2650 | TBA
40006333 | BELT, DRIVE, FAN, V-BELT, SINGLE | PC | SPB-2000P | TBA
40006352 | BELT, DRIVE, FAN, V-BELT, SINGLE | PC | SPA2120 | TBA
40006344 | BELT, DRIVE, FAN, V-BELT, SINGLE | PC | B105 | TBA
40006327 | BELT, DRIVE, FAN, V-BELT, SINGLE | PC | XPB2800 | TBA
40000664 | BELT, SINGLE, ANTI-STATIC, HVAC FAN | PC | BX58 | TBA
40036344 | BELT, POWER BAND, 10R5V-1600, 10 RIB | EA | 105V1600 | TBA
40006564 | BELT | PC | BX158 | TBA
40051092 | V-BELT, FOR MAIN GENERATOR | EA | XPB-2580 | TBA
40006567 | BELT | PC | BX116 | TBA
40044142 | SHEAVE, FAN, 160MM (6.35") PITCH DIA. | EA | 2TB60/PIX40MM | TBA
40006448 | BELT | PC | B105 | TBA
40041170 | SHEAVE, FOR FAN, C/W BUSHING | EA | 2TB94/Q1X111/16 | TBA
40041177 | SHEAVE, FOR MOTOR, C/W BUSHING | EA | 2TB74/Q1X15/8 | TBA
40006535 | BELT | PC | A58 | TBA
40005577 | BEARING, BALL, THRUST, SKF 7310-BECBY | PC | 62082946 / 7310-BECBY | TBA
40006563 | BELT | PC | BX70 | TBA
40051083 | SHEAVE, FOR FAN 71-305, SHAFT SIZE .875" | EA | TL SPZ140X2 | TBA
40000663 | BELT | PC | 5VX1030 | TBA
40005487 | BELT, SINGLE | PC | 5VX1400 | TBA
40006331 | BELT, DRIVE, FAN, V-BELT, SINGLE | PC | XPB2500 | TBA
40005488 | BELT | PC | 5VX1600 | TBA
40005056 | BELT | PC | 3VX600 | TBA
40006362 | BELT, DRIVE, FAN, V-BELT, SINGLE | PC | XPA1800 | TBA
40049184 | BELT, V, BANDO POWER KING | EA | B-62 | TBA
40005486 | BELT | PC | 5VX1180 | TBA
40005698 | SHEAVE, FAN, 333MM (13.1") PITCH DIA. | PC | 6S5V132-S1X68MM | TBA
40039770 | BEARING, RADIAL BALL, 30MM | EA | 6306-2Z/C3 | TBA
40028113 | V-BELT, DRIVE (TAG Z-6997), ANTI STATIC | PC | A-38 | TBA
40046696 | SHEAVE, FAN, C/W BUSHING, FOR K-6946A/B | EA | 4TB50-P1 1 1/2" | TBA
40006562 | BELT | PC | BX95 | TBA
40006536 | BELT | PC | A62 | TBA
40044792 | SHEAVE, FAN, 300MM DIA, C/W 50MM BUSHING | EA | 3C110/R1X50 | TBA
40044793 | SHEAVE, MOTOR, 315MM, C/W 2.7/8" BUSHING | EA | 3TC120-QIX27/8" | TBA
40005217 | SHEAVE, FAN, 4 GROOVE, 8" PITCH DIAMETER | PC | 45V800EXE-50MM | TBA
40048107 | SHEAVE, MOTOR, 140MM PITCH DIA, 2 GROOVE | EA | TLSPZ140X2-1610 | TBA
40005477 | SHEAVE, MOTOR, 226.06MM PITCH DIA., C/W | PC | 5TB86/Q2 2 3/8" | TBA
40005480 | SHEAVE, FAN, 414.02MM (16.3") PITCH DIA. | PC | 5B160R/R1-215/16" | TBA
40003979 | SHEAVE, MOTOR, 247.65MM (9.75") PITCH | PC | 10S5V975-SI-31/8" MARTIN GEAR | TBA
40004186 | SHEAVE, FAN, 297.18MM (11.7") PITCH DIA. | PC | 10S5V118/SIX211/16" | TBA
40041181 | SHEAVE, FOR MOTOR, C/W BUSHING | EA | 4R5V90/R1X23/8 | TBA
40034020 | BEARING | EA | 6315-C3 | TBA
40004826 | SHEAVE, FAN, 137.16MM (5.4") PITCH DIA. | PC | 2AK56H X 1 3/16 | TBA
40040113 | BELT, POWERBAND, 5V-1000, 2 RIB | EA | 2R5V-1000 | TBA
40049183 | BELT, V, GATES HI-POWER II, B53 | EA | B-53 | TBA
40041173 | SHEAVE, FOR FAN, C/W BUSHING | EA | 3B5V86-B C/W 2-3/16 SPLIT TAPER BUSHING | TBA
40041179 | SHEAVE, FOR MOTOR, C/W BUSHING | EA | 3B5V64-BC/W1-7/8-KW SPLIT TAPER BUSHING | TBA
40041183 | SHEAVE, FOR MOTOR, C/W BUSHING | EA | 4TB80/Q1X21/8 | TBA
40049185 | BELT, V | EA | B-48 | TBA
40050563 | SHEAVE, FOR MOTOR, C/W BUSHING | EA | 4R5V97/R1211/16"5V | TBA
40005020 | SHEAVE, FAN, 149.86MM (5.9") PITCH DIA. | PC | 3BK62H/H-1-1/2 | TBA
40001398 | SEAL, SHAFT, ASSEMBLY | PC | 15344-06B | TBA
40001399 | SEAL, SHAFT, ASSEMBLY | PC | 15344-03B | TBA
40001403 | SEAL, SHAFT, ASSEMBLY | PC | 15344-05B | TBA
40041178 | SHEAVE, FOR MOTOR, C/W BUSHING | EA | 3TB48/P1X15/8 | TBA
40005053 | SHEAVE, FAN, C/W BUSH FOR K-909A/B | PC | 3P3V50 P1 X 1 1/2 | TBA
40004891 | SHEAVE, MOTOR, C/W BUSH FOR K-6909A/B | PC | 33V300SH 5H X 1 3/8 | TBA
40036201 | BEARING | EA | 6206ZZC3 | TBA
40036196 | BEARING | EA | 6207ZZC3 | TBA
40039769 | VEE BELT | EA | SPB-2530 | TBA
40054600 | SHEAVE, MOTOR, C/W BUSHING, K-6946A/B | EA | 4TB90-Q1 2 1/8" | TBA
40005017 | SHEAVE, MOTOR, 170MM (6.7") PITCH DIA. | PC | 3B5V64 | TBA
40005019 | SHEAVE, FAN, 221MM (8.7") PITCH DIA. | PC | 3B5V86 | TBA
40005039 | SHEAVE, MOTOR, 114.3MM (4.5") PITCH DIA. | PC | 4B5V42-P1 1 3/8 | TBA
40005046 | SHEAVE, FAN, 287MM (11.3") PITCH DIA. | PC | 3B5V110-B 1 11/16 | TBA
40056899 | BELTS | EA | MBL-3V1160 | TBA
40059220 | BUSHING, FAN SHEAVE, SH-35mm | EA | 120093 | TBA
40059149 | SHEAVE, MOTOR, 25V750 | EA | 455249 | TBA
40001093 | BEARING, SPHERICAL | PC | SKF 22209EK | TBA
40059158 | BELT, 5VX950, HVAC PART | EA | JASO_5VX950 | TBA
40004805 | SHEAVE, FAN, 195.58MM (7.7") PITCH DIA. | PC | 2B5V74 | TBA
40001092 | ADAPTER, SLEEVE, BEARING | PC | SKF-H309 | TBA
40004721 | SHEAVE, FAN, 106.6MM (4.2") PITCH DIA. | PC | 2BK50H | TBA
40004812 | SHEAVE, MOTOR, 169.02MM PITCH DIA. | PC | 2BK65H | TBA
40059157 | BELT, 5VX800, HVAC PART | EA | JASO_5VX800 | TBA
40001091 | RING, BEARING, LOCATING | PC | SKF FRB3.5/85 | TBA
40059160 | BELT, 5VX750, HVAC PART | EA | JASO_5VX750 | TBA
40059217 | BUSHING, FAN SHEAVE, SDS-40mm | EA | 120101 | TBA
40059159 | BELT, 5VX710, HVAC PART | EA | JASO_5VX710 | TBA
40059241 | BUSHING, FAN SHEAVE, SH-30mm | EA | 120091 | TBA
40059154 | BELT, 5VX1320, HVAC PART | EA | JASO_5VX1320 | TBA
40059239 | BUSHING, FAN SHEAVE, SK-50mm | EA | 120122 | TBA
40059219 | BUSHING, FAN SHEAVE, E-50mm | EA | 120140 | TBA
40001096 | HOUSING, BEARING | PC | SE509 SKF | TBA
40004800 | SHEAVE, MOTOR, 71.12MM (2.8") PITCH DIA. | PC | 2BK32H | TBA
40059233 | BUSHING, FAN SHEAVE, SK-40mm | EA | 120119 | TBA
40059153 | BELT, 5VX1120, HVAC PART | EA | JASO_5VX1120 | TBA
40059156 | BELT, 5VX1060, HVAC PART | EA | JASO_5VX1060 | TBA
40059155 | BELT, 5VX960, HVAC PART | EA | JASO_5VX960 | TBA
40059221 | BUSHING, FAN SHEAVE, SF-40mm | EA | 120129 | TBA